## Slide 1: Opening a database
Select a Database
Or
Create a New Database
Note: If Creating a new database
it is recommended to put the
new database in a new subdirectory

## Slide 2: Importing Data - 1
Import a dataset
Usually, Yes
1
2
3
Select
for GEM2 select
Dipole-Dipole FEM

## Slide 3: Importing Data - 2
1
Select System
2
Browse
for
XYZ
columnar
datafile
for other systems select Unknown
and give it a name

## Slide 4: Importing Data - 3
If your file does not contain a Header line with our specific
annotation then use ‘Set Header line’ to set the header.
Use the provided example file for assistance.

## Slide 5: Importing Data - 4
Check that the import
has recognized the columns correctly.
Set the height of the
instrument.
Check the data units.
Note:
mS/m is not an actual data unit. The data has been converted by the instrument manufacturer through an approximation to this unit. EMIGMA converts it back to the original data units. You may later display in these approximate units.

## Slide 6: Importing Data - 5
You may choose not to import all profiles or decimate the data.
In addition, if you require
sub-metre accuracy in your data positioning you may
wish to strip off the leading numbers of the UTM positions

## Slide 7: Importing Data - 6
If using an EM31-R, then
your data is probably positioned at a common Tx reference point. This is because the data is collected from a common Tx antennae
Note: The centre point of the 3 Rx-Tx data are not the same.
Run Import:

## Slide 8: Importing Data - Final
You will find a new project and then use ProfileModifier to see the survey positions
for multiple lines